## Slide 1: Beyond NZEB: Has LC thinking a meaningful use for an energy policy agenda?
2.2 The NZEB case study – Consists of an office building built in Lisbon (2006), which is an NZEB prototype [7]. It successfully combines passive design techniques with renewable energy technologies (PV, solar collectors). The main façade of the building faces south and contains the majority of the glazing as well as a PV system, with heat recovery. This PV system assists the heating system in the cold season together with the glazing arrangement, which is intended to optimize passive solar gain. Additional space heating is provided by a roof-mounted array of 16 m2 of CPC solar collectors which heat water supplying radiators as well as domestic hot water. Electricity is currently supplied by both the 96 m2 of PV panels mounted on the south façade (76 multicrystalline modules) and an additional array of panels in the car parking, consisting of 95 m2 of PV amorphous silicon and 110 m2 of PV CIS thin-film modules. The total installed peak power is 30 kW.
Chart: NZEB use phase energy flows (GJ/m2)
| Energy consumption | Energy production
Electricity | 15.5
Natura gas | 6.7
PV system | 16.2
Chart: Global warming potential (kg CO2 eq)
| biofuel | borehole heat pump | solar + gas | nat gas | light fuel oil | coal
IPCC GWP 100a | 0.050327 | 0.15909 | 0.2058 | 0.26013 | 0.33507 | 0.51768
Chart: Cumulative Energy Demand (MJ)
| wood | biofuel | borehole heat pump | solar + gas | nat gas | light fuel oil | coal
Cumulative Energy Demand | 5.0899 | 2.9855 | 3.1043 | 4.5185 | 4.6247 | 5.1572 | 4.2748
Chart: ReCiPe Endpoint (H) V1.11 / Europe ReCiPe H/A (European normalisation and average weighting set)
| Climate change Human Health | Human toxicity | Particulate matter formation | Climate change Ecosystems | Agricultural land occupation | Urban land occupation | Natural land transformation | Metal depletion | Fossil depletion
wood | 0.82491 | 0.38733 | 2.2449 | 0.52192 | 17.2482 | 0.14852 | 0.032124 | 0.072749 | 0.83272
biofuel | 1.401 | 0.51243 | 1.4313 | 0.88642 | 9.1613 | 0.16654 | 0.062538 | 0.28476 | 1.4215
borehole heat pump | 4.4265 | 1.3072 | 1.0415 | 2.8002 | 0.27721 | 0.033536 | 0.048529 | 0.44013 | 4.3123
solar + gas | 5.6383 | 0.31759 | 0.51328 | 3.5674 | 0.028503 | 0.010013 | 0.098077 | 0.38275 | 7.6881
Chart: Cumulative Energy Demand (MJ)
| hydro, reservoir | wind, onshore | photovoltaic, multi-Si | natural gas | hard coal
Cumulative Energy Demand | 3.8564 | 0.22347 | 0.92626 | 10.108 | 10.4859
Chart: ReCiPe Endpoint (H) V1.11 / Europe ReCiPe H/A (European normalisation and average weighting set)
| Climate change Human Health | Human toxicity | Particulate matter formation | Climate change Ecosystems | Agricultural land occupation | Urban land occupation | Natural land transformation | Metal depletion | Fossil depletion
hydro, reservoir | 0.37411 | 0.048895 | 0.10884 | 0.23627 | 0.0043559 | 0.0047498 | 0.38501 | 0.10356 | 0.13682
wind, onshore | 0.44762 | 0.33686 | 0.2642 | 0.28322 | 0.016996 | 0.059273 | 0.0078464 | 0.62329 | 0.45897
photovoltaic, multi-Si | 1.6156 | 0.77735 | 0.74341 | 1.0223 | 0.10038 | 0.92277 | 0.032626 | 0.70349 | 1.657
Chart: Global warming potential (kg CO2 eq)
| hydro, reservoir | wind, onshore | photovoltaic, multi-Si | natural gas | hard coal
IPCC GWP 100a | 0.014367 | 0.016275 | 0.058674 | 0.6023 | 1.091
Figure 4. Life cycle impact assessment of 1 kWh of heat generated by different sources
Chart: Material in NZEB building (% w/w)
| Concrete / mortar | Steel | Brick | Rockfill | Ceramic /stone tiles | Polimers / insulation | Other
 | 2506 | 18 | 105 | 190 | 99 | 52 | 20
Partidário P.1, Martins P.1, Frazão R.1 and Cabrita I.1
DGEG - DEIR, Av. 5 de Outubro 208, 1069 - 203 Lisboa , Portugal
1 - Introduction
The buildings sector is responsible for significant impacts regarding energy and climate change, to a great extent related to the use phase of the buildings life cycle. Moreover, due to a significant effort on energy savings and to technology diffusion of renewable sources, two key issues are emerging: the energy consumed along the whole life cycle and, therein, the impacts of energy technologies used – in particular using renewable sources, for electricity and heat production. The energy consumption along the whole life cycle of a building is defined by: ELC = EOP + EEMB ,
where: EOP - operational energy; and EEMB - embodied energy (incl. auxiliary energy systems).
The EOP current importance on buildings performance results strongly from the relative contribution of net operational needs, which represents 80-90% of ELC on conventional buildings [1]. As measures are taken to reduce EOP , this compares to the low carbon buildings performance (NZEB), about which insights on real cases are available in the EU Build Up network [2]. Having a chance to improve the energy balance of the whole system, on the one hand brings to the emergence of both zero energy buildings and positive energy buildings [3], and on the other to an increase of the relative importance of EEMB and of environmental impacts in the whole life cycle, due to the implementation of the new energy efficiency (EE) and renewable energy systems (RES) design options.
This research focuses on the role of life cycle thinking in the strategic discussion addressing EEMB contribution to the ELC, and on the potential to address positive and negative environmental impacts (e.g. CO2 emissions) when (re)designing a system approach to buildings and urban districts.
Figure 3. Life cycle impact assessment of 1 kWh of electricity produced by different sources
Fig. 1- Case study - Materials and energy data selected from LC inventory
Chart: Embedded primary energy - different insulation scenarios
| Structural elements (H+V) | Walls | Windows | Wood components | Energy equipment
Half insulation | 0.53473 | 0.057763 | 0.28976 | 0.011046 | 0.10671
Current conditions | 0.53679 | 0.061513 | 0.28563 | 0.010888 | 0.10518
Double insulation | 0.54074 | 0.068702 | 0.27771 | 0.010586 | 0.10227
Figure 5. Energy and environmental impacts using thermal insulation
References:
[1] Ramesh et al, 2010. Life cycle energy analysis of buildings: An overview, Energy and Buildings 42: 1592-1600
[2] www.buildup.eu
[3] www.gbpn.org
[4] Viegas M, 2012. Avaliação do impacte ambiental e energético do edifício Solar XXI, FCUL, Lisboa
[5] Pargana N, 2012. Environmental impacts of the life cycle of thermal insulation materials of buildings, IST, Lisboa
[6] EN 15978 (2011). Sustainability of Construction Works. Assessment of environmental performance of buildings – Calculation method
[7] Gonçalves et al, 2012. Solar XXI - A Portuguese Office Building towards Net Zero-Energy Building, REHVA Journal – March 2012: 34- 40
3 – Results and discussion
3.1 Overall energy consumption in the case studied - The ELC is 33,8 GJ/m2 , where EOP = 65,3% ELC and EEMB = 34,6% ELC. For comparison, conventional buildings have a: EOP = 80-90% ELC and EEMB = 10-20% ELC. Within its energy balance , it is expected that the increasing use of EE + RES will further improve its performance, leading this particular NZEB to become a positive energy building. Two questions may then be derived: Q1 and Q2.
3.2 Q1: How important are RES in the environmental impacts of a NZEB case? If duplicating the RES delivery ability, the embedded primary energy would increase from 10,5 to 17,2% (fig.2). Figures 3 and 4 show the environmental impacts of producing 1 kWh of electricity and heat respectively, and the consequences of using different sources.
2 - Methodology
2.1 LCA - Performed for an NZEB office building (fig. 1) using the software tool GaBi, mostly with real primary data [4], under 2011 operational conditions and with selected secondary data extracted from Ecoinvent database. The thermal insulation inventory analysis is based on [5]. The SimaPro tool was used to perform life cycle impact assessment of the RES using the methods IPCC Global warming potential, Cumulative energy demand and ReCiPe. The energy mix was calculated based on 2011 data for Portugal (www.erse.pt). System boundaries are considered according to the standard EN 15978 (2011) [6], which include four life cycle stages: the product, construction, use, and end-of-life stages. The functional unit considered the service in 1 m2 of building area, and a lifetime of 50 years.
Chart: 
| Structural elements (H+V) | Walls | Windows | Wood components | Energy equipment
Current conditions | 0.5368 | 0.061524 | 0.28568 | 0.01089 | 0.10511
RES add-on | 0.49697 | 0.056958 | 0.26448 | 0.010082 | 0.17152
Fig. 2- Embedded primary energy – the current and upgraded scenario of the PV system.
4 - Conclusions
- LCA: recognized in the public policy agenda, e.g. from the call to focus on the whole life cycle in the IPP voluntary policy (2003), to the EcoDesign Directive (2009) and the EU Construction Products Regulation (2011);
- Energy system changes over time: EOP is reducing, EEMB tends to exhibit higher relative and absolute importance, and ELC to be compensated by onsite power generation;
- The results of the work performed show:
LC thinking and LCA – are key to get insight information both on energy and environmental impacts for the design process when comparing different options, as well as for decision making purposes;
Risk of loosing information – if only considering primary energy use and the green house effect potential, as it is demonstrated by the examples presented on thermal insulators and photovoltaics, considering that other LC stages and other different impact categories also need to be analyzed.
3.3 Q2: Are buildings always more environmentally sustainable when improved by EE and RES solutions?
Need to consider the different design strategies used to improve its EE performance (e.g. envelope, windows, passive design solutions, lighting, or power use monitoring). In addition, the RES options (solar water heating; PV systems) are the best in environmental terms, in order to answer to the energy supply equation within the building lifecycle – and in the use phase in particular. But is this always true? This question is addressed by focusing on two examples - thermal insulators (fig. 5) and photovoltaics use (fig. 3), and by reflecting on the relevancy of the identified impacts.
Chart: 
| XPS | EPS | PUR | SW | ICB | LECA
GWP (kg CO2 eq) | 4.96 | 2.5 | 3.75 | 19.89 | -14.34 | 3.02
Chart: 
| XPS | EPS | PUR | SW | ICB | LECA
Human toxicity (kg 1,4-DB eq) | 0.53 | 0.21 | 2.42 | 0.00471 | 0.47 | 2.84
Chart: 
| XPS | EPS | PUR | SW | ICB | LECA
ADP (kg Sb eq) | 0.046 | 0.026 | 0.038 | 0.12 | 0.014 | 0.13
AP (kg SO2 eq) | 0.018 | 0.00881 | 0.016 | 0.028 | 0.035 | 0.12
Fresh water ecotoxicity (kg 1,4-DB eq) | 0.13 | 0.055 | 0.22 | 0.00145 | 0.064 | 0.27
Leca® - lightweight expanded clay
ICB - expanded Cork Agglomerate
SW – stonewool
PUR – polyurethane
EPS - expanded Polystyrene
XPS - extruded polystyrene